## 建筑并网
建筑并网光伏发电KWp初投资
Initial invInitial investment for grid-connected PV system integrated with building
序号 |  | 项目/item | 投资（元）/investment (RBM) | 比例(%)/Percentage(%)
1 |  | 前期费用和可行性研究/prophase fee and available study | 1500 | 4.6875
2 |  | 太阳电池（含支架）solar cell (including bracket) | 20000 | 62.5
3 |  | 并网逆变器/grid-connected inverters | 4000 | 12.5
4 |  | 配电测量及电缆等/measuring equipment and cable etc. | 1000 | 3.125
5 |  | 设备运输/transportation of equipments | 1000 | 3.125
6 |  | 安装调试/installation and debugging | 3000 | 9.375
7 |  | 税金及其它/tax etc. | 1500 | 4.6875
8 |  | 合计total | 32000 | 100
初投资：3.2万元/KWp，系统综合效率：74％/Initial investment: 32,000/KWp. Total efficiency of system: 74%系统年运行维护费用：占初投资的0.43％。Maintenance fee for system yearly accounts for 0.43% of initial investment.
最终解释权归clsolar所有QQ:210803

## 开阔地并网
开阔地并网光伏发电KWp初投资
Initial investment for grid-connected PV system on opening land
序号 |  | 项目/item | 投资（元）/investment (RBM) | 比例(%)/Percentage(%)
1 |  | 前期费用和可行性研究/prophase fee and available study | 2500 | 7.8125
2 |  | 太阳电池（含支架）solar cell (including bracket) | 17500 | 54.6875
3 |  | 并网逆变器/grid-connected inverters | 4000 | 12.5
4 |  | 配电测量及电缆等/measuring equipment and cable etc. | 3000 | 9.375
5 |  | 设备运输/transportation of equipments | 2000 | 6.25
6 |  | 安装调试/installation and debugging | 2000 | 6.25
7 |  | 税金及其它/tax etc. | 1000 | 3.125
8 |  | 合计total | 32000 | 100
初投资：3.2万元/KWp，系统综合效率：80％/Initial investment: 32,000/KWp. Total efficiency of system: 80%系统年运行维护费用：占初投资的0.47％。Maintenance fee for system yearly accounts for 0.47% of initial investment.
最终解释权归clsolar所有

## 上网电价
建筑并网光伏发电上网电价
Feed-In Tariff price of grid-connected PV electricity on building
年份year | 2009 | 金太阳
KWp初始投资额（年降7%）initial investment per KWp(decreased by 7%) | 32000 | 16000
资本金(30％)→capital (30%) | 9600 | 4800
银行贷款(70％)→bank loan (70%) | 22400 | 11200
偿还贷款本金(电站寿命年均)→repaid loan capital | 896 | 448
贷款利息(电站寿命年均)→interest of loan
固定资产折旧(20年期)→discount of capital asserts (20 years) | 1280 | 640
折旧抵扣部分贷款本息→/ discounted loan capital
运行和维护（0.43%）→/fee of operation and maintenance (0.43%)
年资本金收益(10%)→profit of capital yearly (10%)
KWp含税发电成本/electricity cost per KWpincluding tax | 1934.0802 | 967.0401
含税度电成本（1300小时）/cost per kwhincluding tax (1300he) | 1.4878 | 0.74388
KWp含税含收益发电成本/ cost including tax and interest per KWp | 2934.0802 | 1967.0401
含税度电上网电价800有效小时/feed-in tariff per KWh including tax, 800he | 3.6676 | 2.4588
1000有效小时→/1000 he | 2.9341 | 1.967
1200有效小时→/1200 he | 2.4451 | 1.6392
1300有效小时→/1300 he | 2.257 | 1.5131
1400有效小时→/1400he | 2.0958 | 1.405
1600有效小时→/1600 he | 1.8338 | 1.2294
1800有效小时→/1800 he | 1.63 | 1.0928
2000有效小时→/1200 he | 1.467 | 0.98352
注:光伏系统投资运营计算较复杂，非专业计算!
最终解释权归clsolar所有